## G Schedule (2)
Revised G Schedule NIT 002/2022-23
PAINT JOB (A)
S.No | Description | Qty. | Unit | Rate | Amount | Remarks/Brand
1 | Wall painting with plastic emulsion paint of approved brand and manufacture to give an even shade including all scaffolding: Two or more coats as required for approved finish | 1 | Sq.Ft |  | 0 | Asain, Berger Make
2 | Wall painting with ace paint of approved brand and manufacture to give an even shade including all scaffolding: Two or more coats as required for approved finish | 1 | Sq.Ft |  | 0 | Asain, Berger Make
4 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats as required for approved finish | 1 | Sq.Ft |  | 0 | Asain, Berger Make
5 | Spirit Polish on Existing Wodden surfaces | 1 | Sq.Ft |  | 0 | Asain, Berger Make
6 | Oil Paint Jali & angle | 1 | Sq.Ft |  | 0 | Asain, Berger Make
7 | Chair Numbering | 1 | Nos. |  | 0 | Asain, Berger Make
8 | Mannual Scoreboard Paint | 1 | Job |  | 0 | Asain, Berger Make
TOTAL A
Fall Celing Repair (B)
S.No | Description | Qty. | Unit | Rate | Amount | Remarks/Brand
1 | Providing and applying white cement based putty over plastered surface to prepare the surface even and smooth complete | 1 | Sq.Ft |  | 0 | J K, Birla White
2 | Providing and fixing 12.5 mm thick tapered edge gypsum board conforming to IS 2095- Part I at all height false ceiling including providing and fixing of frame work made of special sections power pressed from M.S. sheet and galvanised in accordance with zinc coating of grade 350 as per IS : 277 and consisting of angle cleats of size 25mm wide x 1.6mm thick with flanges of 22mm and 37mm at 1200mm centre to centre one flange fixed to the ceiling with dash fastener 12.5mm diax40mm long with 6mm dia bolts to the angle hangers of 25x25x0.55mm of required length, and other end of angle hanger being fixed with nut and bolts to G.I. channels 45x15x0.9mm running at the rate of 1200mm centre to centre to which the ceiling section 0.5mm thick bottom wedge of 80mm with tapered flanges of 26mm each having clips of 10.5mm at 450mm centre to centre shall be fixed in a direction perpendicular to G.I. channel with connecting clips made out of 2.64mm diax230mm long G.I. wire at every junction including fixing the gypsum board with ceiling section and perimeter channels 0.5mm thick 27mm high having flanges of 20mm and 30mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450mm centre to centre with 25mm long drive-all screws @ 230mm interval including jointing and fixing to a flush finish of tapered and square edges of the board with recommended filler, jointing tapes, finisher and two coats of primer suitable for board as per manufactures specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed all complete as per drawing and specification and direction of the Engineer in Charge but excluding the cost of painting. | 1 | Sq.Ft |  | 0 | New
3 | False Celing Repair work in Gypsum Board as per point 11 (Complete in all respects) | 1 | Sq.Ft |  | 0 | As Per existing
| TOTAL A |  |  |  | 0
FABRICATION AND CHAIR JOB (C)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Repiaring of exisitng spectators chairs in stands including fixing nailing, anchorage, chemical fastner, complete in all respects | 1 | nos |  | 0 | As per existing
2 | Providing and Fixing of spectators chairs in stands including fixing nailing, anchorage, chemical fastner, complete in all respects. | 1 | nos |  | 0
3 | Repairing and fixing for channeling and fencing work includes cutting, weilding, replacment of pipes, replacement with present fencing wire, barbed wire, GI wire, MS hinges, with enamel paint, complete in all respect, as per engineer incharge. | 1 Job | 1 Job |  | 0 | As per existing
4 | Providing and fixing for channeling and fencing work includes cutting, weilding, replacment of pipes, replacement with new fencing wire, barbed wire, GI wire, MS hinges, with enamel paint, complete in all respect, as per engineer incharge. | 1 | Sqft |  |  | As per existing
5 | Provide and fixing of tuffend glass 6mm thick as per the requirement | 1 | sqft |  | 0 | As per existing
TOTAL B
TILE JOB FLOOR & WALL (D)
S.No | Description | Qty. | Unit | Rate | Amount
1 | P & F 1st qualityVitrified Porcelain Polished tiles on floor, skirting and steps etc.in different sizes (thickness to be specified by manufactuer) with water absortion less than 0.08% and conforming to IS 15622 of approved make in all colour and shade, laid with 20 mm thick CM 1 : 4 including grounting the joints with white cement and matching pigment etc complete. size 600 mm X 600 mm | 1 | Sq.Ft |  | 0 | As per Existing
2 | Providing and fixing Wall tiles for toilet of size 300x600 mm as approved by engineer incharge | 1 | Sq.Ft |  | 0 | As per Existing
3 | Repair work with grouting in tile work with white cement where as required. | 1 | Sq.Ft |  | 0 | As per Existing
TOTAL C
PLUMBING & SANITARY Work (E)
S.No | Description | Qty. | Unit | Rate | Amount
A | Providing & Fixing of CP Fittings
1 | ½" × 1" CP X Nipple | 1 | Nos |  | 0 | As per Existing
2 | ½" × 2" CP Flange | 1 | Nos |  | 0 | As per Existing
3 | CP Angle Valve | 1 | Nos |  | 0 | As per Existing
4 | CP Bib Cock | 1 | Nos |  | 0 | As per Existing
5 | CP Bottle Trap | 1 | Nos |  | 0 | As per Existing
6 | CP Bottle Trap Pipe 12" | 1 | Nos |  | 0 | As per Existing
7 | CP Central Hole Basin Mixer | 1 | Nos |  | 0 | As per Existing
8 | CP Connection 18" | 1 | Nos |  | 0 | As per Existing
9 | Cp Divator Plate & Head | 1 | Nos |  | 0 | As per Existing
10 | CP Dom West Coupling | 1 | Nos |  | 0 | As per Existing
11 | CP Health Faucet | 1 | Nos |  | 0 | As per Existing
12 | CP Jali plain | 1 | Nos |  | 0 | As per Existing
13 | CP Jali Hole | 1 | Nos |  | 0 | As per Existing
14 | CP Over Head Shower OHS-35495 | 1 | Nos |  | 0 | As per Existing
15 | CP Paper Holder | 1 | Nos |  | 0 | As per Existing
16 | CP Pillar Cock | 1 | Nos |  | 0 | As per Existing
17 | CP Single Lever Mixer FLR 5007B | 1 | Nos |  | 0 | As per Existing
18 | CP Spout SPJ-85429 | 1 | Nos |  | 0 | As per Existing
19 | CP Urinal Spindle | 1 | Nos |  | 0 | As per Existing
20 | CP West Coupling | 1 | Nos |  | 0 | As per Existing
21 | CP Pillar/Basin Mixer/Swine Naked | 1 | Nos |  | 0 | As per Existing
23 | C.I. 5" Jali | 1 | Nos |  | 0 | As per Existing
24 | Concealed Cistern Tank | 1 | Nos |  | 0 | As per Existing
25 | PVC Connection 18" | 1 | Nos |  | 0 | As per Existing
27 | PVC West Pipe | 1 | Nos |  | 0 | As per Existing
28 | Rack Bolt Wash Basin | 1 | Pair |  | 0 | As per Existing
29 | Urinal Sensor Fitting | 1 | Nos |  | 0 | As per Existing
B | Providing & Fixing of Sanitary Fittings
1 | Urinal Small | 1 | Nos |  | 0 | As per Existing
2 | Urinal Long | 1 | Nose |  | 0 | As per Existing
3 | Wash basin 18"×12" | 1 | Nos |  | 0 | As per Existing
4 | Wash Basin 22"×16" | 1 | Nos |  | 0 | As per Existing
5 | Wall Hung Casket W.C | 1 | Nos |  | 0 | As per Existing
6 | Seat Cover for Wall Hung Casket W.C | 1 | Nos |  | 0 | As per Existing
7 | EWC | 1 | Nos |  | 0 | As per Existing
8 | E WC Seat Cover | 1 | Nos |  | 0 | As per Existing
9 | PVC Flushing Cistern Tank | 1 | Nos |  | 0 | As per Existing
C | Providing & Fixing of Changing
3 | Pressure Pump Changing | 1 | Nos |  | 0 | As per Existing
4 | Urinal Opening & Refitting | 1 | Nos |  | 0 | As per Existing
5 | Steam Bath & Shower Repair | 1 | Nos |  | 0 | As per Existing
D | Providing & Fixing of Misc
1 | 75mm PVC Pipe Fixing | 1 | RM |  | 0 | As per Existing
2 | 75mm PVC Cowl | 1 | Nos |  | 0 | As per Existing
3 | 110mm PVC Cowl | 1 | Nos |  | 0 | As per Existing
4 | 15mm Ball Valve | 1 | Nos |  | 0 | As per Existing
5 | 32mm Valve Fixing | 1 | Nos |  | 0 | As per Existing
6 | 15mm G.I. Pipe | 1 | Rft |  | 0 | As per Existing
7 | 20mm CPVC Pipe | 1 | Mtr |  | 0 | As per Existing
8 | Ball Cock Set 1" | 1 | Nos |  | 0 | As per Existing
10 | manhole Making 300×300mm | 1 | Nos |  | 0 | As per Existing
11 | PVC Tank Fitting 1000ltr | 1 | Nos |  | 0 | As per Existing
12 | PVC Tank Cover | 1 | Nos |  | 0 | As per Existing
13 | Tank Transfer | 1 | Nos |  | 0 | As per Existing
14 | Granit Cutting | 1 | Nos |  | 0 | As per Existing
15 | PVC & CPVC Checking | 1 | Nos |  | 0 | As per Existing
TOTAL D
ELECTRICAL Work (F)
S.No | Description | Qty. | Unit | Rate | Amount
I. | POINT WIRING
1 | Wiring for Light point with 2 x 1.5 Sqmm FR PVC insulated, copper conductor Multistrand Flexible wires in surface/ recessed Medium duty PVC conduit & its accessories including the cost of cutting/ making good chases in brick/ stone work and including the cost of Supplying and fixing of MS boxes and fixing of 6 Amp Modular type switch, grid plate, modular cover plate & also include cost of loop earthing with 1.5 Sqmm FRLS PVC insulated, Copper conductor multistrand Flexible wires Complete as required
a. | Single Point controlled with single 6 Amp switch (upto 3mtr) | 1 | Nos |  | 0 | As per Existing
b. | Primary Point controlled with single 6 Amp switch (upto 5mtr) | 1 | Nos |  | 0 | As per Existing
c | Primary Point controlled with single 6 Amp switch (upto 10mtr) | 1 | Nos |  | 0 | As per Existing
d) | Secondary loop Point controlled with primary point 6A switch (upto 3mtr) | 1 | Nos |  | 0 | As per Existing
2 | Wiring for Light point with 2 x 1.5 Sqmm FR PVC insulated, copper conductor Multistrand Flexible wires in surface/ recessed Medium duty PVC conduit & its accessories including the cost of cutting/ making good chases in brick/ stone work and including the cost of Supplying and fixing of 10 Amp MCB & also include cost of loop earthing with 1.5 Sqmm FRLS PVC insulated, Copper conductor multistrand Flexible wires Complete as required
a. | primary point controlled by 10A MCB. (upto 5mtr) | 1 | Nos |  | 0 | As per Existing
b. | primary point controlled by 10A MCB. (upto 10mtr) | 1 | Nos |  | 0 | As per Existing
c. | secondary loop point controlled by primary point 10A MCB. (upto 3mtr) | 1 | Nos |  | 0 | As per Existing
3) | Wiring for Twin controlled Light point with 2 x 1.5 Sqmm FR PVC insulated, copper conductor Multistrand Flexible wires in surface/ recessed Medium duty PVC conduit & its accessories including the cost of cutting/ making good chases in brick work and including the cost of Supplying and fixing of 2 nos MS boxes & fixing of 2 nos 6 Amp Two way Modular type switch, grid plate, modular cover plate & and also include cost of loop earthing with 1.5 Sqmm FRLS PVC insulated, Copper conductor multistrand Flexible wires Complete as required (upto 5mtr) | 1 | Nos |  | 0 | As per Existing
3) a | Wiring for Twin controlled Light point with 2 x 1.5 Sqmm FR PVC insulated, copper conductor Multistrand Flexible wires in surface/ recessed Medium duty PVC conduit & its accessories including the cost of cutting/ making good chases in brick work and including the cost of Supplying and fixing of 2 nos MS boxes & fixing of 2 nos 6 Amp Two way Modular type switch, grid plate, modular cover plate & and also include cost of loop earthing with 1.5 Sqmm FRLS PVC insulated, Copper conductor multistrand Flexible wires Complete as required (upto 10mtr) | 1 | Nos |  | 0 | As per Existing
4 | Wiring for fan point with 2 x 1.5 Sqmm FR PVC insulated, copper conductor Multistrand Flexible wires in surface/ recessed Medium duty PVC conduit & its accessories including the cost of cutting/ making good chases in brick/ stone work and including the cost of Supplying and fixing MS boxes & fixing of 6 Amp one way Modular type switch, 100 Watt electronic hume free 5 stepped fan Regulator, grid plate, modular cover plate and also include cost of loop earthing with 1.5 Sqmm FRLS PVC insulated, Copper conductor multistrand Flexible wires Complete as required | 1 | Nos |  | 0 | As per Existing
4)A | provieding ,fitting of fasner in false ceiling or ceiling for hang ceiling fan with require accessories | 1 | Nos |  | 0
5 | Wiring for Exhaust fan point with 2 x 1.5 Sqmm FR PVC insulated, copper conductor Multistrand Flexible wires in surface/ recessed Medium duty PVC conduit & its accessories including the cost of cutting / making good chases in brick/ stone work and including the cost of Supplying and fixing of MS box & 6 Amp one way Modular type switch, grid plate, modular cover plate and also include cost of loop earthing with 1.5 Sqmm FRLS PVC insulated, Copper conductor multistrand Flexible wires Complete as required | 1 | Nos |  | 0 | As per Existing
6 | Wiring for Bell point with 2 x 1.5 Sqmm FR PVC insulated, copper conductor Multistrand Flexible wires in surface/ recessed Medium duty PVC conduit & its accessories including the cost of cutting/ making good chases in brick/ stone work and including the cost of Supplying and fixing of MS boxes & ding dong type bell and fixing of Modular type bell push , grid plate, modular cover plate & also include cost of loop earthing with 1.5 Sqmm FRLS PVC insulated, Copper conductor multistrand Flexible wires Complete as required | 1 | Nos |  | 0 | As per Existing
7 | Wiring for Voltage output 240 volt shaver socket. with 2 x 2.5 Sqmm FR PVC insulated, copper conductor Multistrand Flexible wires in surface/ recessed Medium duty PVC conduit & its accessories including the cost of cutting/ making good chases in brick/ stone work and including the cost of Supplying and fixing of MS boxes , grid plate, modular cover plate & also include cost of loop earthing with 1.5 Sqmm FRLS PVC insulated, Copper conductor multistrand Flexible wires Complete as required | 1 | Nos |  | 0 | As per Existing
8 | Wiring for 6 Amp Light plug point with 2 x 1.5 Sqmm FR PVC insulated, copper conductor Multistrand Flexible wires in surface/ recessed Medium duty PVC conduit & its accessories including the cost of cutting/ making good chases in brick work and including the cost of Supplying and fixing of MS boxes, fixing of 6 Amp one way Modular type switch & 6 Amp 5 pin combined shuttered socket outlet, grid plate, modular cover plate & also include cost of loop earthing with 1.5 Sqmm FRLS PVC insulated, Copper conductor multistrand Flexible wires Complete as required
a. | Light Plug point On Board | 1 | Nos |  | 0 | As per Existing
b. | Light Plug point (upto 3mtr) | 1 | Nos |  | 0 | As per Existing
c | Light Plug point (upto 5mtr) | 1 | Nos |  | 0 | As per Existing
9 | Wiring for 16 Amp Power plug point with 2 x 2.5 Sqmm FRLS PVC insulated, copper conductor Multistrand Flexible wires in surface/ recessed Medium duty PVC conduit & its accessories including the cost of cutting / making good chases in brick/ stone work and including the cost of Supplying and fixing of MS boxes & fixing of 16 Amp one way Modular type switch & 16/ 6 Amp 6 pin combined shuttered socket outlet, grid plate, modular cover plate and also include cost of loop earthing with 1.5 Sqmm FRLS PVC insulated, Copper conductor multistrand Flexible wires Complete as required (upto 5mtr) | 1 | Nos |  | 0 | As per Existing
10 | Wiring for 16 Amp Power plug point with 2 x 4.0 Sqmm FRLS PVC insulated, copper conductor Multistrand Flexible wires in surface/ recessed Medium duty PVC conduit & its accessories including the cost of cutting/ making good chases in brick/ stone work and including the cost of Supplying and fixing of MS boxes & fixing of 16 Amp one way Modular type switch & 16/ 6 Amp 6 pin combined shuttered socket outlet, grid plate, modular cover plate and also include cost of loop earthing with 2.5 Sqmm FRLS PVC insulated, Copper conductor multistrand Flexible wires Complete as required (upto 5mtr) | 1 | Nos |  | 0 | As per Existing
11 | Wiring for Gyser point with 2 x 4.0 Sqmm FRLS PVC insulated, copper conductor Multistrand Flexible wires in surface/ recessed Medium duty PVC conduit & its accessories including the cost of cutting/ making good chases in brick/ stone work and including the cost of Supplying and fixing of MS boxes, fixing of 5 pin 20 Amp socket & top , 3mm thick laminated sheet and also include cost of loop earthing with 2.5 Sqmm FRLS PVC insulated, Copper conductor multistrand Flexible wires Socket near the Gyser and 20 Amp Modular type Switch at Switch board Complete as required | 1 | Nos |  | 0 | As per Existing
Total carried over to Summary
12 | Supplying and drawing HR PVC insulated & unsheathed flexible copper conductor ISI marked (IS:694) of 1.1 kV grade and approved make in existing surface or recessed conduit /casing capping including making connections etc. as required.for ckt
a) | 2 x 1.5 sq. mm. | 1 | per Mtr |  | 0 | As per Existing
b) | 1 x 2.5 sq. mm. | 1 | per Mtr |  | 0 | As per Existing
c) | 2 x 2.5 sq. mm. | 1 | per Mtr |  | 0 | As per Existing
d) | 2 x 2.5 sq. mm. + 1x1.5sqmm | 1 | per Mtr |  | 0 | As per Existing
II | REPAIRING OR CHANGE SWITCH & SOCKET MODULER TYPE
a) | S&F,testing and Connecting 6A Switch SP 1way, 1 module with cover plate | 1 | Nos |  | 0 | As per Existing
III | LIGHTING FIXTURES & FANS WORK
13 | Supply,Installation, testing and commissioning of Surface mounted direct / indirect electronic balast luminaire designed for metric false ceiling type or similar ceiling mounting system with powder coated CRCA body , round type with 36 (2X 18) watt CFL Downlighter of Philips / Wipro / bajaj / CG/ Legero make. | 1 | Each |  | 0 | As per Existing
14) | Supply, ,Installation, testing and commissioning of Recessed mounted direct / indirect magnetic balast luminaire designed powder coted CRCA ring for metric false ceiling type Armstrong/ US gypsum or similar ceiling mounting system with concealed or exposed 'T' section round type with 36 (2X 18) watt horizontal downlighters CFL of Philips / Wipro / bajaj / CG/ Legero make. | 1 | Each |  | 0 | As per Existing
15) | Supply,Installation, testing and commissioning of Recessed mounted 1'X1' direct / indirect luminaire designed for metric false ceiling type or similar ceiling mounting system with powder coated CRCA body Aluminium mirror reflector L type with 36 (2X 18) watt CFL light of Philips / Wipro / bajaj / CG/ Legero make. | 1 | Each |  | 0 | As per Existing
16) | Supply,Installation, testing and commissioning of Surface mounted direct / indirect luminaire designed for ceiling surface mounting system with powder coated CRCA body Aluminium mirror reflector type with 36 (2X 18) watt CFL light of Philips / Wipro / bajaj / CG/ Legero make. | 1 | Each |  | 0 | As per Existing
17) | Supply, ,Installation, testing and commissioning of Recessed mounted direct / indirect magnetic balast luminaire designed powder coted CRCA ring for metric false ceiling type Armstrong/ US gypsum or similar ceiling mounting system with concealed or exposed 'T' section round type with 36 (2X 18) watt horizontal downlighters with frosted glass CFL of Philips / Wipro / bajaj / CG/ Legero make. | 1 | Each |  | 0 | As per Existing
18) | Supply,Installation, testing and commissioning of Surface mounted direct / indirect FTL luminaire designed powder coated CRCA sheet with aluminium mirror reflactor with (2X 36) watt of Philips / Wipro / bajaj / CG/ Legero make. | 1 | Each |  | 0 | As per Existing
19) | Supply and Fixing of Batten type Bulb Holder of superor quality with all required accessories complete in all respect. of make Antex/ Anchor/ Leader/etc | 1 | Each |  | 0 | As per Existing
20) | Supply,Installation, testing and commissioning of 1x36/40 watt surface mounted type fluorescent tube light with 36/40w tube and stator and chock of ltube light fitting including making connection, testing etc. as required with lube light. | 1 | Each |  | 0 | As per Existing
21) a | Supply,Installation, testing and commissioning of 1x36/40 watt light tube | 1 | Each |  | 0 | As per Existing
21) b | Supply,Installation, testing and commissioning of 1x36/40 watt tubelight open/recessed type Electronic Ballast complete with accessories like screew connector | 1 | Each |  | 0 | As per Existing
21) c | Supply,Installation, testing and commissioning of 1x18 watt tubelight open/recessed type Electronic Ballast complete with accessories like screew connector | 1 | Each |  | 0 | As per Existing
22 | Supply,Installation, testing and commissioning of 1x18 watt 2 pin type CFL light complete fit in Downlighter with accessories like screew ,connector . | 1 | Each |  | 0 | As per Existing
23 | Supply, Installation, testing and commissioning of 1x11 watt CFL mirror light including making connection, testing etc. as required with tube. | 1 | Each |  | 0 | As per Existing
24 | Supply & Fixing of Heavy duty capacitor start 900 RPM single phase ISI marked Exhaust fan/ fresh air fan, IS:2312 marked in existing opening including making connections testing etc. as required.
a | 300 MM DIA Exhaust Fan/fresh air fan | 1 | Each |  | 0 | As per Existing
25 | Supply & Fixing of capacitor start, three speed wall mounting fan of 400 mm sweep with the help of anchor bolts including making connection testing etc. as required. | 1 | Each |  | 0 | As per Existing
V. | DISTRIBUTION BOARDS WORKS
26 | P&F 240/415 V MCB of breaking capacity not less than 10 KA (B/C/D tripping characteristic) ISI marked IS 8828(1996)]/ conforming to IEC 60898 in existing board/sheets including making connections with lugs, testing etc. as per approved make.
Single pole
a) | 6 Amp to 32 Amp rating, | 1 | Each |  | 0 | As per Existing
Four pole
a) | 6 Amp to 32 Amp rating, | 1 | Each |  | 0 | As per Existing
b) | 40 Amp to 63 Amp rating, | 1 | Each |  | 0 | As per Existing
27 | P&F 240/415 V MCCB Thermal magnetic trip ICS =100%ICU , breaking capacity not less than 16 KA (B/C/D tripping characteristic) ISI marked IS 8828(1996)]/ conforming to IEC 60898 in existing board/sheets including making connections with lugs, testing etc. as per approved make.
a) | 63A FP (25ka) | 1 | Each |  | 0 | As per Existing
b) | 160A FP (25ka) | 1 | Each |  | 0 | As per Existing
c) | 200A FP (25ka) | 1 | Each |  | 0 | As per Existing
d) | 400A FP (36ka) | 1 | Each |  | 0 | As per Existing
28 | P&F 240/415 V Residual current circuit breaker conforming to IS:12640:1988/ IEC 61008 on existing board/sheet including making connections with lugs, testing etc. as required
Two pole 100/300mA sensitivity
a) | 40 A rating | 1 | Each |  | 0 | As per Existing
b) | 63 A rating | 1 | Each |  | 0 | As per Existing
29 | P&F Recessed/ Surface mounting heavy duty horizontal type SPN double door sheet steel Distribution board phophatised/ powder painted complete with copper bus bar, shorting link , neutral link, earth link and din bar, conforming to IS13032 & IS8623 including making internal DB terminations with copper lugs , testing etc. as per approved make.
a) | 16 WAY | 1 | Each |  | 0 | As per Existing
30 | P&F recessed/ surface mounting heavy duty vertical type TPN Double Door sheet steel Distribution board with MCCB incomer provision, phophatised ,powder painted complete with insulated copper bus bar , neutral link, earth link and din bar, conforming to IS13032 & IS8623 including making internal DB terminations with copper lugs , testing etc. as required.
a) | 4 WAY | 1 | Each |  | 0 | As per Existing
b) | 8 WAY | 1 | Each |  | 0 | As per Existing
c) | 12 WAY | 1 | Each |  | 0 | As per Existing
VI. | LT CABLES & ACCESSORIES WORKS
31 | Supply, handling, laying, testing and commissioning of following size cross linked polyethylene (XLPE) insulated Aluminium conductor Armoured LT cable suitable for 1.1 KV grade confirming to IS:1554 part 1 of approved make in cable tray /hume pipe / wall / ground as per IS:1255 including excavation of 30cmx75cm size trench, 25 cm thick under layer of sand,IInd class bricks covering, refilling earth,compaction of earth , including making necessary connection, testing etc. as required of size.
a | 3.5 core 35.0 Sq.mm | 1 | R/ Mtr |  | 0 | As per Existing
32 | P & Fabricating & installing following sizes of perforated M.S. cable trays including horizontal and vertical bends, reducers tees,cross members and other accessories as required and duly suspended from the ceiling with M.S. suspenders and including painting
a) | 150mm x 50mm x 1.6mm | 1 | R/ Mtr |  | 0 | As per Existing
Tubelights and Caps
1 | Providing and Fixing Tubelights and CFL Lights | 1 | Nos. |  |  | As per Existing
2) | Providing and Fixing of Electrical Panel Box MCB Box Cover | 1 | Nos. |  |  | As per Existing
TOTAL E
Aluminium & Fiber Work (G)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Providing and fixing aluminium partition section with 5 mm plain glass | 1 | Sq.ft |  | 0 | As per Existing
2 | Providing and fixing aluminium double door section outer 4" x 1.75", door frame 3.25" x 1.75" with 5 mm plain glass | 1 | Sq.ft |  | 0 | As per Existing
3 | Repairing ACP sheet, Glass, Rubber Etc. | 1 | Sq.ft |  | 0 | As per Existing
4 | Providing and fixing Toughned glass of 12mm thickness including all supporting hardware fitings | 1 | Sq.ft |  | 0 | As per Existing
5 | providing and fixing 10 mm polycarbonate sheet four layer including all lead and lift with all necessary supporting hardwares includung removal of surplus material matching with existing specifications of the material | 1 | Sq.ft |  | 0 | As per Existing
6 | Rennovation of 3rd empire room at South Pavallion terrace including repairing of ACP Sheets, MS work, Aluminium & Glass work with all respect approved by engineer incharge. | 1 Job | Sq.ft |  | 0 | As per Existing
TOTAL G |  |  |  |  | 0
CARPATE WORK (H)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Providing and fixing of non woven carpet of 5 mm thickness | 1 | Sq.ft |  | 0 | As per Existing
TOTAL H |  |  |  |  | 0
WOODEN & FURNITURE WORK (I)
S.No | Description | Qty. | Unit | Rate | Amount
1 | door repair and lock complete in all respect | 1 | Unit |  | 0
2 | lock and other repair complete in all respect | 1 | Unit |  | 0
3 | Providing and fixing or repair wooden/plywood section of 12mm ply covering with wooden frame and laminate pasting 0.8mm thickness. | 1 | Unit |  | 0
TOTAL I |  |  |  |  | 0
CIVIL WORK (J)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Brick masonry in super structure up to third storey.with bricks of class designation 75 in:Cement mortar 1 : 6 ( 1 - cement : 6 coarse sand) | 1 | Cft. |  | 0
2 | Half brick masonry in Superstructure , above plinth level upto floor V level using bricks of designation 75 Add extra providing and placing in position 2 Nos. ,6mm Ø M.S. bar at every third course of half brick masonry . Cement mortar 1 : 6 (1 cement : 6 coarse sand) | 1 | Sq.ft. |  | 0
3 | Plaster on new surface on walls in cement sand mortar 1:6 including racking of joint etc. complete fine finish : 20 mm thick | 1 | Sq.ft. |  | 0
4 | 12 to 15mm thick neat plaster with water proofing compound. | 1 | Sq.ft. |  | 0
5 | Providing and laying in position cement concrete including curring compaction etc. complete in specified grade excluidng the cost of centering and shuttering -All work up to plinth level.: M10 grade Nominal Mix 1: 3: 6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40mm nominal size). | 1 | CUM |  | 0
6 | Repairing of Exixting Broadcast Control Room constructed in IPL 2018 regarding repairing of holes and other works required as per Broadcaster team requirement. | 1 | Lum Sum
7 | Supply of JCB and Tractor Trolly | 1 | Per Hour |  | 0
TOTAL J |  |  |  |  | 0
A.C WORK (K)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Split AC service charge | 1 | nos |  | 0
2 | Cassette AC service charge | 1 | nos |  | 0
3 | Split AC gas filling | 1 | nos |  | 0
4 | Cassette AC gas filling | 1 | nos |  | 0
5 | Split AC compressor exchange | 1 | nos |  | 0
6 | Outdoor unit repair | 1 | nos |  | 0
7 | North Block(B):- Total AC 20+22 = 42 AC'SSplit AC service charge | 1 | nos |  | 0
8 | Ductable AC service charge | 1 | nos |  | 0
9 | Split AC gas filling | 1 | nos |  | 0
10 | Ductable AC gas filling | 1 | nos |  | 0
11 | Ductable AC outdoor motor exchange/rewiring | 1 | nos |  | 0
12 | Ductable AC compressor exchange | 1 | nos |  | 0
13 | Ductable AC inbuilt-Wiring issue fix/new wiring | 1 | nos |  | 0
14 | Ductable AC indoor motor exchange/rewiring | 1 | nos |  | 0
15 | Copper pipe | 1 | Ft. |  | 0
16 | Providing & Fixing Split A.C 1.5 Ton | 1 | Nos |  | 0
17 | Providing & Fixing Split A.C 2.0 Ton | 1 | Nos |  | 0
TOTAL K |  |  |  |  | 0
Dismantaling (L)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Diamatnling Job | Lump Sum
TOTAL L |  |  |  | Approx | 0
CCTV (M)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Hiring of PTZ 37X CCTV Cameras for various location as per direction of Rajasthan Police and RCA Security Manager | 20 + 2 standby
2 | Night Vision Cameras 4 MP/IP Camera, 1/3, 3.6MM Lance 600 TVL 78 High Intensity range 20 mtr. to 50 mtr. , IP 66 weather proof inclusion with bracket with all necessary wiring as per direction of Rajasthan Police and RCA Security Manager | 300 Nos. + 50 standby
3 | All necessary items like DVR/NVR of 32 channels for recording, wires, power supply, connectors, monitors, inverters, 6+1 Caxil, Network rack with all necessary installation and testing as direction of Rajasthan Police and RCA Security Manager Additional DVR Required for ACU with a Seprate feed of Players Dressing Room. | 32x6 or 16x12
4 | Digital Joystick – Supply, installation and un-installation after service contract of joystick | 2
5 | Monitor - Supply, installation and un-installation after service contract 55 Inch LED | 5
6 | Hand Over of HDD - Handover of recording footage in USB-HDD per One day match footage | 1
7 | Supply, installation and Un-installation after service contract of Video surveillance system including transportation | Lumpsum
Cable laying and removing after event
Telephone Cable 10 pair
R G 6
CAT 6
Cable tie 6”, 10” and 15”
Isolator Plgins
Insulation with Amplifier
TOTAL M |  |  |  |  | 0
Turnstile (N)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Full Turnstile | West Gate : 11
| Supply, installation, execution and un-installation after service contract of full turnstile without access control unit with support of access readers, RFID, print@home or BARCODE tickets with one scanning pointor any other protocol/system in accordance with ticketing agency as per direction of Rajasthan Police and RCA Security Manager. | South Gate : 2
| SPECIFICATIONS :Enabled with latest generation of Varigo Gate turnstile. With support of access readers, RFID, print@home or BARCODE tickets with one scanning point | East Gate : 12
North Gate : 10
2 | RACK, Network | Qty as per need of Design & implementation of item no. 1
RACK for Network Equipment with all necessary installation, Internet/Wi-Fi for connectivity and testing as direction of Rajasthan Police and RCA Security Manager
3 | Power Supply | Qty as per need of Design & implementation of item no. 1
UPS for all Turnstiles for smooth functioning. 15/5 Amp. Socket.
4 | CABLES& Connectors | Qty as per need of Design & implementation of item no. 1
Power Chords, Patch chords, Cable UPS supply& distribution Socket boxes etc. Laying and removing of cables after completion of event.
Communication Cables etc.as per need of Network and as direction of Rajasthan Police and RCA Security Manager.
TOTAL N
Soild Waste Management (O)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Smooth operations and sustainable waste management during the IPL Season 2023 as per the requirement of State Association, Match Officials and falling under the rules as mandate under soild waste management rule 2016 including collection all Waste/Garbage, disposal as per rules, including supply of all dustbins and manpower and machinery. | Lum Sum
TOTAL O |  |  |  |  | 0
All Temporary Lighting Work and Connections(P)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Scope of Work including temporary lightning work for IPL, including which are, All Cabling, all panels, power plugs, light plugs, security lights, AC plugs, Halogen Light & Mattel Light. Scope including 120 KW Generator (Minimum 6) with all required connections to concessions/media/ground or as when required by the Match officials. | Lum Sum
TOTAL P |  |  |  |  | 0
Pest Control (Q)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Scope of Work including drill hole treatment in South and North Block, spray treatment and General Pest Control and Fogging as when required by the State Association and Match Officials during IPL Season 2023 | Lum Sum
0
TOTAL P
Internet Requirement (R)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Internet Requirement for Media, Photographer, Official Photographer, SKY UK, Commentators-English and Hindi, BCR, Star BCR, Match Officials, IPL Office 220 MBPS for IPL 2023 Wifi Connection + Hardwired provision | 1
TOTAL P |  |  |  |  | 0
Housekeeping & Free Drinking Water (S)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Scope of work includes complete cleaning of West and East Block, Cleaning of all four stands with Liquid Soap/Collin/Easy/Generak Stands before and after each match, cleaning of all the toilets and Rool Freshner in each toilet, Hand Towels and soaps in Toilets in Corporate boxes West Block. | 1
2 | Supply of Free Drinking Water in the Concourse area or as when requried by the Match Offcials and State Association for IPL Season 2023 | Lum Sum
TOTAL S |  |  |  |  | 0
PA System (T)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Scope of Work Includes Public Address System and High Voltage Music Sound in SMS Stadium Ground, Sound System in Press Conference Room, Sound System in Media Box, Loudspeaker System in VIP Parking Stand for IPL Season 2023. 45 Horns and Speakers and Mic as required by the Match Officials and State Association. | Lump Sum
TOTAL T |  |  |  |  | 0
Chemical Toilets (U)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Porto Toilets including leak proof, durable, Water Resistant Portable cabins Foot pump with recirculating flush system, Led Lighting, Gender Specific labeling o n outside of Toilet, Hand Washing Stataion, Utlity hook for hanging personal items, Vents, Non Slip Floor, Self Closing locks, units which sustain damage, which cannot be reparied at the site for IPL 2023 | 30 | Lumpsum
TOTAL U |  |  |  |  | 0
Tentage (V)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Main BCR – Outside North Pavilion | 1
Reseal Roof structure, ensure all is waterproof.
Audio Dolby Room extension – Wall removed and new door placed
2 | English Commentary Box (Level 2 North Pavilion) | 1
Riser – 8x8ft 10Inch High with water proff Material
Tables and Chairs
3 Bar Stools
Black Film/curtain on Glass
3 | Hindi Commentary Box (Level 2 North Pavilion) | 1
Black Covering on Glass
4 | Camera Positions | 1
North Rooftop –
6ftx6ftx4ft Platform riser
4Inch Kicking board across entire Camera gantry on front edge
Shade on top of entire camera area structure
South Rooftop –
Gantry Base – Replace and repair rusted base of gantry. Ensure structural stability
Install 4inch kicker along entire front edge of Gantry.
Installation of shade structure across entire Gantry
Slips Camera (FOP)
2 x 6ft x 6ft & 1ft High Platform with Carpet or covering
Reverse Slips Camera (FOP)
2 x 40ft x 6ft & 1ft High platform with Carpet or Covering
Run Out Camera Positions
Shade structures for 4 x Run Out Cameras
Placement of 4 positions
Ensure poles are sturdy
High 45 Camera Position
Construction of Camera Platform on West Rooftop.
Kicking board around entire platform
Shade Structure built
Sturdy and safe steps to position
Structure needs to be built to take weight of 400kg
Ultra Motion Cameras (FOP)
2 x 6ft x 6ft & 1ft High Platform with Carpet or covering
5 | Satellite Uplink Room | 1
Construction of Satellite Uplink Room – Fully Waterproof. In position identified in Broadcast report
3ft wide Door requires for the room, ability to lock door
Electrical points and lights within Room
2 x 2Ton Air Conditioners within the Room
6 | Press Conference Room | 1
Built Temporary Press Conference Room on lawn in front of North Pavilion
30 Inch High stage for Press Conference Table
6ft x 4ft & 30Inch High Camera platform.
Chairs for 50 persons
PA System for Press Conferences
General lighting
Additional spot lighting for Press conference area
7 | Furniture | 1
Tables
30 Sturdy Tables in Main BCR
20 Sturdy Tables in Star BCR
5 Sturdy Tables English Commentary
Chairs
80 Good quality in Main BCR
60 Chairs in Star BCR
5 Good quality in English Commentary
3 Bar Stools BCR
Pedestal Fans
4 Pedestal fans in Star BCR
8 | TVs | 1
2 x LCD TV with Cable connection in BCR with Star Sports – Main BCR (40 INCH) 20 x LCD TV with Cable Connection for Other Requirement (5 of 32 INCH, 5 of 24 INCH, 10 of 42 INCH)
9 | Temproary AC 3 Ton Machine at Various Locations | 200 TON
10 | TV with DTH Connection 40 INCH | 60
| TOTAL V |  |  |  | 0
Fire Extingusher (W)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Fire Extinguisher and repair or refill or current Fire Extinguisher | 200 | LumpSum
14 x 5Kg CO2
2 | Fire Marshals | 30 |  |  | 0
TOTAL W |  |  |  |  | 0
Catering (X)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Providing Catering Services for Noth Roof Top, Media, RCA Staff, Ground Staff, Flood Light & DG Set Staff, Manual Score Board Staff and Emergency Services (Expect Police) Category 1 : Media (2 Non Veg, 2 Veg, 1 Dal, 4 Type of Bread, + 1 curd, 1 Rice, Achar, Papad, Salad, 1 Sweet, 1 Desert. Tea and Coffee (For the Full Match Time) Category 2: Full Veg Thali with One Sweet Category 3: Medium Veg Thali with One Sweet | 6000
2 | Non Match Days Food Packets and Thails | 500
TOTAL Y |  |  |  |  | 0
Stadium Security (Non Match Days) (Y)
S.No | Description | Qty. | Unit | Rate | Amount
1 | Provide Security Staff for Non Match Days for 12 Hour Security as per the requirement. Security Agency must have a valid license fromt the Government and Security Guards/Bouncers must have police verification. | 1600 | hrs | Lump Sum
TOTAL AA |  |  |  |  | 0